## Slide 1: CE3002: Sensors, Interfacing and Control
Lab Project Briefing
Supervisor:
Asst/P Mahardhika Pratama (mpratama@ntu.edu.sg)
Dr. Smitha K G(smitha@ntu.edu.sg)

## Slide 2: Objective
Design & Implementation of a PC-based Infrared Plethysmograph(PPG) for measurement and analysis of blood volume changes.

## Slide 3: Circuit Diagram

## Slide 4: Resources
Hardware Kit
Power supply (+15V & -15V)
Oscilloscope
Signal generator
Lab manual
Useful notes
Code
  Arduino
  MATLAB

## Slide 5: Suggestion and notes
Use signal generator to test your circuit
  The PPG sensor sometimes has uncertainty
  20mV (peak-to-peak), sine wave, 500mHz
Well keep the hardware components
  PPG sensor expensive
  Restore if lost

## Slide 6
7.5 V DC

## Slide 7: A completed sample

## Slide 8: Evaluation
Demo (60% - common score for a team)
  Basic functionality (40%)
    Major component (e.g., amp) missed: 0 points
    Partially functioning with small issues: 20 points
    Fully functioning: 40 points
  Additional features (20%)
    E.g., real-time pulse rate, weak signal alert, etc
Oral (40% - individual scores for team members)
  State your contribution
  Q/A

## Slide 9: Evaluation (cont’d)
Final evaluation in the last lab session
  Week 12 for TE1, SE2
  Week 11 for TE2, TE3, SE1, SE3
10% bonus marks, if the project is ready for evaluation by
  Week 10 for TE1, SE2
  Week 9 for TE2, TE3, SE1, SE3